STANDARD PLANNING BOARD NOTES FOR SUBDIVISION PLANS

1.	Statement incorporating requirements of subdivision regulations:

"The Subdivision Regulations of the Town of New Boston are a part of this plat and 	approval of this plat is contingent on completion of all requirements of said subdivision 	regulations, excepting any variances or modifications made in writing by the Board and 	attached hereto."

2.	Wetland encroachment(s) requiring State &/or Town Permits:

"No Owner, nor the heirs or assigns thereof, of any properties herein platted, shall dredge 	and/or fill any wetlands, including, but not limited to, poorly drained soils, without first 	receiving a Dredge & Fill Permit from the State of N.H., D.E.S., Wetlands Bureau, and a 	Conditional Use Permit (CUP) from the Town of New Boston Planning Board, if 	applicable."

3.	Major Subdivision provisions of water supplies required for fire fighting purposes:

"Any further subdivision or re-subdivision of any of the properties herein platted shall (or 	may) cause the Owner, his heirs or assigns, to install an acceptable fire fighting water 	supply system, as required by the Town of New Boston Subdivision Regulations, Major 	Subdivision Provisions."

4.	Annexation(s) of land creating no new (additional) lots of record:

"The purpose and intent of this plat is to subdivide Parcel _____ from Lot # _______ and 	to annex said Parcel with existing Lot # _____, such that the assemblage will be considered as one lot of record for assessing, use permitting, and conveyancing purposes."

5a)	Cistern(s) Required:

"A fire fighting water supply system, in the form of  a 30,000 gallon underground cistern 	is required to be installed at the location herein platted.   It is the intent of the Owner/Developer to dedicate said utility to the Town of New Boston once construction of the said utility is approved as complete and accepted as such by the Planning Board.  The said cistern must be so approved and accepted before the sale of any of the lots herein platted, and, before any Certificate(s) of Occupancy (C.O.) is issued by the Building Department."

5b)	Sprinkler Systems

"This subdivision is to have fire fighting water supply in the form of individual sprinkler systems, as offered by the applicant in lieu of a cistern by letter of ___________ and accepted by the Planning Board at their meeting of ______________ and installed in accordance with the Town of New Boston Building Code, Chapter NB-5.0.  A Declaration of Covenants and Restrictions listing this restriction on the property is to be filed herewith at the Hillsborough County Registry of Deeds.  The individual deeds to the lots herein platted shall refer to this restriction and the Declaration of  Covenants and Restrictions.  No Certificates of Occupancy shall be issued until the sprinkler systems have been inspected, tested and accepted by the Town of New Boston Fire Inspector or their designee."

Continued...

6.	Statement of responsibility and liability:

"In consideration of the Town of New Boston Planning Board's approval entered hereon, 	the Owner/Developer and the heirs, successors or assigns of the property herein platted agrees to:

1.	Carry out the improvements agreed upon and as shown and intended by said plat, 			and as recorded in a separate Subdivision Agreement, including any work made 			necessary by unforeseen conditions which become apparent during construction.

2.	Post all streets "Private" until accepted by the Town of New Boston and to 			provide and install standard street signs as approved by the Town for all street 			intersections.

3.	Give the Town of New Boston, prior to acceptance of same, proper deeds for land 		or rights-of-way reserved on the plat for streets, drainage or other purposes as 			agreed upon.

4.	Save the Town of New Boston harmless from any obligation it may incur, or 			repairs it may make, because of the Owner/Developer's, the heirs, successors or 			assigns thereof, failure to carry out any of the foregoing provisions."

7.	Engineer's statement of suitability:

"The seal of a professional engineer, registered in the State of N.H., is evidence that the 	proposed improvements to this land are deemed to be suitable."

8.	Tracking (# of lots) note:

"The original parcel, Map _____, Lot ______, is subject to the major subdivision 	provisions of the Subdivision Regulations upon further subdivision or re-subdivision by the Owner, the heirs, successors or assigns thereof, of any property herein platted, in terms of installing a water supply system for fire protection and suppression, generally, but not limited to, at the creation of the fifth lot.  This subdivision of Lot #___________, & #__________ constitutes Lots _________ & __________ of the said five (5).

9.	Stormwater Management Plans/Individual Stormwater Management Plans notes:

"An 'Individual Stormwater Management Plan' (ISWMP) to be submitted prior to the issuance of a building permit, will be required for land disturbance or development in 'Critical Areas' (both those designated hereon or created during development).  For building permits requiring an ISWMP, Certificates of Occupancy will only be issued after receipt of a 'Stormwater Management Plan Compliance Statement' as specified in the New Boston Subdivision Regulations."

"Deeds for each lot shall have the following statement:  'The property herein described is subject to the following condition as described in the recorded subdivision plan referenced above:  A Stormwater Management Plan will be required prior to the issuance of a building permit if any land is to be disturbed in the designated Critical Areas.'."

9/3/15